## Slide 1: SimPowerSystems Hands-on Workshop: Modeling and Simulation of Electrical Power Systems with SimPowerSystemsTM
Carlos Osorio
Principal Application Engineer
MathWorks – Natick, MA
Workshop Outline

## Slide 2: Workshop Setup Instructions
Copy the ZIP file: SPSHandsOnWorkshop.zip
Unzip the file:
At the MATLAB command prompt type: >> start_SPSHandsOnWorkshop
Computer
Local Disk (C:)
AnyWorkingDirectory
SPSHandsOnWorkshop
files
print
-
-
+
+
-

## Slide 3: Workshop Outline
Introduction
  SimPowerSystems component libraries
  How does SimPowerSystems work?
Three-Phase Systems
  Measurements
  State initialization
  Transformers
  Star vs. delta connections
  Floating vs. neutral connections
  Reference frame transformations

## Slide 4: Workshop Outline
Electrical Machines
  Machine measurements
  Machine initialization
  Load flow calculation
  Mechanical connections to loads and prime movers
Simulation Performance
  Model fidelity vs. simulation speed
  SimPowerSystems simulation modes

## Slide 5: Workshop Outline
Control of Electrical Machines
  Electrical disturbances
  Control of synchronous generators
  Electric motor drives
Custom Electrical Components
  Simulink-based electrical components
  Modifying Specialized Technology library components
  Simscape language and Simscape Components library
  Simscape and SimPowerSystems interfaces
  Model sharing and IP protection

## Slide 6: Workshop Outline
Power Electronics
  SimElectronics or SimPowerSystems?
  Ideal switching algorithm
  Power quality and harmonic analysis
  Control design and linearization
Discussion and Q&A

## Slide 7: MathWorks Product Overview

## Slide 8: Physical Modeling in Simulink®
SimMechanics™
Mechanical dynamics (3-D)
SimDriveline™
Drivetrain systems (1-D)
SimHydraulics®
Fluid power and control
Multi-domain physical systems
Electrical power systems
SimPowerSystems™
SimElectronics™
Electromechanical and electronic systems
Simscape™

## Slide 9: Model-Based Design Process System and Component Level Design
INTEGRATION AND TEST
IMPLEMENTATION
Embedded Software
HIL System
DESIGN
SYSTEM LEVEL DESIGN
Control
Electrical
Mechanical
REQUIREMENTS
TEST & VERIFICATION
System-level simulation refines requirements for component design
Results from detailed simulation refine system-level simulation for use in rest of design process
COMPONENT DESIGN
JMAG
SABER
SPICE
Co-simulation can be used as a verification step
Notes: Blue arrow from “Component Design” to “System Level Design” includes:
Parameter estimation based on simulation results
Mode export from FEA
Reduced order modeling