## Slide 1: SimPowerSystems Hands-on Workshop: Modeling and Simulation of Electrical Power Systems with SimPowerSystemsTM
Carlos Osorio
Principal Application Engineer
MathWorks – Natick, MA
2. Three-Phase Systems

## Slide 2: Outline
Measurements
State initialization
Transformers
Star vs. delta connections
Floating vs. neutral connections
Reference frame transformations

## Slide 3: Build a simple three-phase circuit

## Slide 4: Build a simple three-phase circuit
Always required if there
are SimPowerSystems
Specialized Technology
blocks in the model
>> threephase_rlc

## Slide 5: Multimeter measurements
>> threephase_rlc_mm

## Slide 6: Impedance measurement
powergui
>> threephase_rlc_z

## Slide 7: State initialization
Independent states
Dependent states
Settings
powergui

## Slide 8: Complete the simple three-phase circuit
>> threephase_rlc_motor

## Slide 9: Complete the simple three-phase circuit Recommended variable-step solver
Setting the recommended solver configuration

## Slide 10: Complete the simple three-phase circuit Recommended variable-step solver
Automatically opens a model that includes the powergui block and sets the solver to the recommended settings
>> power_new
Additional solver setting recommendations

## Slide 11: Transformers Phase shifting
1 : 1
A
N
30o
D1
C
B
D1: Adds 30o to the phase (lead)
D11: Subtracts 30o from the phase (lag)
>> transformer_phaseshifting

## Slide 12: Transformers Zig-zag transformers
Zig-zag transformers are used to facilitate phase shifts between 0o and 30o
Zig-zag transformers use three windings to achieve the desired phase shift
B1
A1
C1
B3
C3
A3
15o

## Slide 13: Transformers Saturation and hysteresis
MAT-file
powergui
>> transformer_saturation
When modeling hysteresis it is recommended to use a discrete solver for better accuracy and simulation performance

## Slide 14: Star vs. delta connections
Star
Delta
A
B
C
N
30o
A
B
C
(phase to neutral)
(phase to phase)

## Slide 15: Star vs. delta connections
>> star_delta

## Slide 16: Floating vs. neutral connections
In a three-phase system, a floating star-connected load containing inductors will result in dependent states because of the following equation.
If the supply is star-connected and a neutral or ground connection is made between source and load, then there is no longer a dependent state.
>> floating_neutral

## Slide 17: Reference frame transformations Park and Clarke transforms
>> park_clarke
Clarke
(stationary reference frame)
Park
(rotating reference frame)